## BOT - Developmental Resource
2022 EAL RFP for Renewable Resources - Self-Assessment Form for Solar Developmental Resources
Assessment Criteria | Bidder Response | Bidder Comments
Bidder ID
Resource ID
Proposal ID
Resource Overview
Guaranteed Substantial Completion Date
MISO Interconnection Status
MISO Queue Number
NRIS amount requested from MISO
Planned Unit Registration Type in MISO
Proposed Resource Size
Physical Resource Location (County)
Provide Longitude and Latitude
Provide the nearest Substation
Physical Delivery Point (POI)
Technical Feasibility
Has the Bidder provided at least two years of onsite profile data?
What is the source of the production profile data?
Design Life of the Plant (30 Years is required as outlined in the Scope Book)
Solar Fixed or Tracking (Gang-style tracking systems are not allowed as outlined in the Scope Book)
Proposed Module Manufacturer
Proposed Panel Type
PV Module Product Warranty (Years)
PV Module Power Warranty (Years)
Solar Panel Maximum Power Output Degradation in Year 1 (Percent)
Solar Panel Maximum Power Output Degradation Beyond Year 1 (Percent)
Proposed Inverter Manufacturer
Inverter Voltage Rating (VDC)
Inverter Product Warranty (Years)
Proposed Racking System Manufacturer
Racking System Product Warranty for Moving Parts (Years)
Racking System Product Warranty for Structural Parts (Years)
Confirm the racking systems design does not contemplate a drive shaft style system (prohibited in the Scope Book)
Confirm proposed design includes direct burying of the DC Cables (as required by RFP)
Site Hazard Risk
Were Flood (River, Pluvial, Storm Surge) hazards identifed at the location of the site?
If yes, were Flood (River, Pluvial, Storm Surge) hazards addressed?
Were Windstorm Hazards Idenitfied at the location of the site?
If yes, were Windstorm hazards addressed?
Were Wildfire Hazards identified at the location of the site?
If yes, were Wildfire hazards addressed?
Were hailstorm hazards identified at the location of the site?
If yes, were hailstorm hazards addressed?
Were lightning hazards identified at the location of the site?
If yes, were lightning hazards addressed?
What is the planned designed wind speed of the facility? (The plant is required to be built to ASCE 7-16 Risk Categoy III.)
Is it equivalent to or greater than the ASCE 7-16, Risk Category III wind speed applicable to the Facility Site?
Bidder Experience
Has Bidder completed at least one utility scale project with the proposed technology of similar size?
How many utility scale projects has the bidder or majority of the development team completed with the proposed or similar technology? (List technology)
Development Status
Has a detailed engineering study been performed?
Is the project cost estimate based on front-end engineering that supports at least a class 3 estimate (-20% to +30%)?
Has a detailed construction schedule (Level 1) been performed?
Is the proposal based on an EPC bid or an internal analysis?
Is Bidder (or proposed contractor) a licensed contractor, authorized to install solar equipment within the State of Arkansas?
Are all construction permits currently in effect?
Confirm the generation resource is located at a single facility and is not a combined or aggregate resource formed by a "system" of generation resources.
Confirm the selection of the proposed resource is not contingent on selection of another proposed resource.
Commercial
Confirm that Bidder has reviewed and is familiar with the terms of the RFP, including the Model BOT Agreement and Scope Book.
Has a reasonably complete redline of the Model BOT been provided with a list of any additional Special Exceptions to any of the terms of Scope Book with detailed explanation?
Is the Bidder electing to self-build all stand-alone network upgrades (SANU), Transmission Owner's Interconnection Facilities (TOIF), and Interconnection Customer Interconnection Facilities (ICIF)?
If the Bidder is self-building all SANU, TOIF, and ICIF, or if the resource is interconnecting outside of the EAL Transmission System, confirm that the Bidder will bear all risk associated with construction and arrangement for all transmission interconnection and network upgrades associated with the Facility being fully deliverable to MISO.
If the Bidder is electing for the Transmission Owner to build all SANU and TOIF, confirm that the Seller understands that, to the extent the facility will be interconnected to the EAL transmission system, the Buyer will reimburse the Seller on actual costs at Closing.
Confirm that Bidder will continue to move forward with the MISO DPP interconnection process during the RFP and during any contract negotiations if the proposal is selected as a Primary Selection from this RFP, including the payment of deposits, completion of milestones and the construction of any identified network upgrades.
Confirm that Bidder will continue to move forward with the MISO DPP interconnection process during the RFP and during any contract negotiations if the proposal is selected to be put on the Secondary Selection List for this RFP, including the payment of deposits, completion of milestones and the construction of any identified network upgrades.
Provide a date, which must be at or prior to the proposed Guaranteed Substantial Completion Date, by which Bidder would require all network upgrades to be completed in order to successfully achieve the project’s proposed Guaranteed Substantial Completion Date.
Confirm the Bidder/ Seller undertands that EAL as the Buyer will have the right to assign its rights and obligations under the BOT agreement to an Affiliate of Buyer.
Confirm that Bidder has offered warranties consistent with requirements laid out in Section 6 of the Scope Book for Solar
Confirm that Bidder understands and agrees to accept the BOT structure, including, but not limited to, payment structure, construction risk, and transfer of ownership as set forth in the Model BOT Agreement.
Investment Tax Credit
Confirm that the Bidder understands that a project in-service date beyond 12/31/2025 or the date required to satisfy the "continuity safe harbor" as described in applicable IRS notices, whichever comes earlier, may jeopardize Buyer's receipt of the full ITC benefits associated with the project and may result in the Bidder being responsible for all lost ITC benefits.
Please provide the guaranteed ITC percentage for the project
Please describe the safe-harbor approach under which the project started or will start construction for ITC purposes. If the physical work test was or will be used, please describe in detail the nature of the physical work performed or intended to be performed.
Please provide the year that the project started or will start construction for ITC purposes
Site Assessment
Is the project located in the Arkansas region of MISO?
Is the project interconnected to the Arkansas region of MISO South Transmission system?
Does Bidder have full control over the project site or a binding and enforceable contract to obtain full control of the project site? (Note: LOI or MOU will not constitute site control.)
If Bidder does not currently have full site control, what percentage of the project site does Bidder have control over and what percentage of the project site is subject to a binding and enforceable control that would give Bidder such control?
ls the land for the project site leased or owned, or both for the full project site?
Does Bidder have control or binding and enforceable contracts to obtain control over the gen-tie/transmission path to the point of interconnection, including through rights-of-way, easements, servitudes, etc?
Has an interconnection agreement (GIA) for the project been executed? If so, does it remain in effect?
Has the Bidder provided a Phase I ESA?
If Bidder has not provided a Phase I ESA, when is one expected to be available (Month, Year)
Project Financing
Has Bidder provided a plan for the financing of the project?
Has Bidder described the ownership structure of the resource?
Has Bidder provided evidence that it has successfully funded or financed at least one similar project?
Confirm the Bidder has reviewed and is familiar with the RFP's Appendix E - Credit/ Collateral Requirements.
Did the Bidder receive notification prior to Proposal Submission for credit worthiness of the Seller Parent?
If Seller Parent was deemed investement grade, and Bidder intends to also use a Parent Guranty, Has the Bidder factored in the Parent Guaranty offset and the cost of the Letters of Credit to total the full amount of credit support at each milestone as outlined in the RFP's Appendix E - Credit/ Collateral Requirements ?
If the Seller Parent was not investment grade, has the Bidder factored in the cost of Letters of Credit for the full amount of credit support at each milestone as outlined in the RFP's Appendix E - Credit/ Collateral Requirements ?
Confirm Bidder has factored in the required credit support, according to Appendix E, in the proposal's pricing, so that the project is conforming to the credit requirements of the RFP
Confirm the Bidder accepts the credit support amounts at each milestone as required by the RFP for the Proposal to be conforming and considered for evaluation.
Confirm the Bidder has provided the Form of Credit Certification and understands the terms outlined in the signed 2022 EAL Renewable RFP Credit Certification.
Battery Option (IF APPLICABLE)
Is an Optional Battery Included in the Proposal?
Proposed Battery Size (MW)
Proposed Battery Duration (Hours)
Confirm the battery has minimum of four-hour discharge and have 24 hours a day, 7 days a week charging and discharging capability.
Confirm Battery Energy Storage System is DC coupled, as required by the RFP
Battery Equipment Manufacturer
Battery Product Warranty (Years)
Battery Enclosure Type Manufacturer (if available)
Confirm the BESS system is capable of being charged soley by the project and not the power grid

## PPA - Developmental Resource
2022 EAL RFP for Renewable Resources - Self-Assessment Form for Solar Developmental Resources
Assessment Criteria | Bidder Response | Bidder Comments
Bidder ID
Resource ID
Proposal ID
Resource Overview
Delivery Term
Guranteed Commercial Operation Date
PPA Start Date
MISO Interconnection Status
MISO Queue Number
NRIS amount requested from MISO
Planned Unit Registration Type in MISO
Proposed Resource Size
Physical Resource Location (Parish)
Provide Longitude and Latitude
Provide the nearest Substation
Injection Point (POI)
Technical Feasibility
Has the Bidder provided at least two years of onsite profile data?
What is the source of the production profile data?
Design Life of the Plant (Years)
Solar Fixed or Tracking
Proposed Module Manufacturer
Proposed Panel Type
PV Module Product Warranty (Years)
PV Module Power Warranty (Years)
Solar Panel Maximum Power Output Degradation in Year 1 (Percent)
Solar Panel Maximum Power Output Degradation Beyond Year 1 (Percent)
Proposed Inverter Manufacturer
Inverter Voltage Rating (VDC)
Inverter Product Warranty (Years)
Proposed Racking System Manufacturer
Racking System Product Warranty for Moving Parts (Years)
Racking System Product Warranty for Structural Parts (Years)
Confirm the racking systems design does not contemplate a drive shaft style system (prohibited in the Scope Book)
Site Hazard Risk
Were Flood (River, Pluvial, Storm Surge) hazards identifed at the location of the site?
If yes, were Flood (River, Pluvial, Storm Surge) hazards addressed?
Were Windstorm Hazards Idenitfied at the location of the site?
If yes, were Windstorm hazards addressed?
Were Wildfire Hazards identified at the location of the site?
If yes, were Wildfire hazards addressed?
Were hailstorm hazards identified at the location of the site?
If yes, were hailstorm hazards addressed?
Were lightning hazards identified at the location of the site?
If yes, were lightning hazards addressed?
What is the planned designed wind speed of the facility?
Is it equivalent to or greater than the ASCE 7-16, Risk Category III wind speed applicable to the Facility Site?
Bidder Experience
Has Bidder completed at least one utility scale project with the proposed technology of similar size?
How many utility scale projects has the bidder or majority of the development team completed with the proposed or similar technology? (List technology)
Development Status
Has a detailed engineering study been performed?
Is the project cost estimate based on front-end engineering that supports at least a class 3 estimate (-20% to +30%)?
Has a detailed construction schedule (Level 1) been performed?
Is the proposal based on an EPC bid or an internal analysis?
Is Bidder (or proposed contractor) a licensed contractor, authorized to install solar equipment within the State of Arkansas?
Are all operational and construction permits currently in effect?
Confirm the generation resource is located at a single facility and is not a combined or aggregate resource formed by a "system" of generation resources.
Confirm the selection of the proposed resource is not contingent on selection of another proposed resource.
Commercial
Confirm that Bidder has reviewed and is familiar with the terms of the RFP, including the Model PPA Agreement.
Confirm the Bidder has reviewed Attachment B-1 to Schedule B of the PPA, and the proposed facility aligns with the speicified design requriements.
Has a reasonably complete redline of the Model PPA been provided with a list of any additional Special Exceptions, including a detailed explanation of any terms the Bidder is taking exception?
Confirm that the Bidder will bear all risk associated with construction and arrangement for all transmission interconnection and network upgrades associated with the Facility being fully deliverable to MISO, as laid out in Section 2.5 of the Main Body.
Confirm that Bidder will continue to move forward with the MISO DPP interconnection process during the RFP and during any contract negotiations and any contract negotiations arising out of a Bidder proposal selected in the RFP, including the payment of deposits, completion of milestones and the construction of any identified network upgrades.
Confirm that Bidder will continue to move forward with the MISO DPP interconnection process during the RFP and during any contract negotiations if the proposal is selected to be put on the Secondary Selection List for this RFP, including the payment of deposits, completion of milestones and the construction of any identified network upgrades.
Provide a date, which must be at or prior to the proposed PPA Start Date, by which Bidder would require all network upgrades to be completed in order to successfully achieve the project’s proposed Guaranteed Commercial Operation Date.
Does Bidder's proposal trigger, or is it expected to trigger, long-term liability recognition by EAL, including variable interest entity, derivatives, or capital lease recognition?
Confirm the Bidder has provided the Form of Accounting Certification and understands the terms outlined in the signed 2022 EAL Renewable RFP Accounting Certification.
Does Bidder agree to pay liquidated damages if the guaranteed annual energy delivery minimums are not met and Buyer's right to terminate the PPA for specified failures to meet energy delivery minimums over any two (2) consecutive contract years or any three (3) contract years during the PPA term.
Does Bidder agree to absorb the risks of the possible disallowance, disapproval, or denial of recovery by the APSC and other Governmental Authorities of EAL's costs incurred in connection with a PPA arising out of this RFP
Does the Bidder agree to financially settle a the EAL load node, as required by the RFP to be considered conforming?
Site Assessment
Is the project located in the Arkansas region of MISO?
Is the project interconnected to the Arkansas region of MISO South Transmission system?
Does Bidder have full control over the project site or a binding and enforceable contract to obtain full control of the project site? (Note: LOI or MOU will not constitute site control.)
If Bidder does not currently have full site control, what percentage of the project site does Bidder have control over and what percentage of the project site is subject to a binding and enforceable control that would give Bidder such control?
ls the land for the project site leased or owned, or both for the full project site?
If not, what percentage of the project site does Bidder have control over and what percentage of the project site is subject to a binding and enforceable control that would give Bidder such control?
Does Bidder have control over the gen-tie/transmission path to the point of interconnection, including through rights-of-way, easements, servitudes, etc?
Has an interconnection agreement (GIA) for the project been executed? If so, does it remain in effect?
Has the Bidder provided a Phase I ESA?
If Bidder has not provided an ESA, when does the Bidder expect one to be available? (Month, Year)
Project Financing
Has Bidder provided a plan for the financing of the project?
Has Bidder described the ownership structure of the resource?
Has Bidder provided evidence that it has successfully funded or financed at least one similar project?
Confirm the Bidder has reviewed and is familiar with the RFP's Appendix E - Credit/ Collateral Requirements.
Did the Bidder receive notification prior to Proposal Submission for credit worthiness of the Seller Parent?
If Seller Parent was deemed investement grade, and Bidder intends to also use a Parent Guranty, Has the Bidder factored in the Parent Guaranty offset and the cost of the Letters of Credit to total the full amount of credit support at each milestone as outlined in the RFP's Appendix E - Credit/ Collateral Requirements ?
If the Seller Parent was not investment grade, has the Bidder factored in the cost of Letters of Credit for the full amount of credit support at each milestone as outlined in the RFP's Appendix E - Credit/ Collateral Requirements ?
Confirm Bidder has factored in the required credit support, according to Appendix E, in the proposal's proposed pricing, so that the project is conforming to the credit requirements of the RFP
Confirm the Bidder accepts the credit support amounts at each milestone as required by the RFP for the Proposal to be conforming and considered for evaluation.
Confirm the Bidder has provided the Form of Credit Certification and understands the terms outlined in the signed 2022 EAL Renewable RFP Credit Certification.
Battery Option (IF APPLICABLE)
Is an Optional Battery Included in the Proposal?
Proposed Battery Size (MW)
Proposed Battery Duration (Hours)
Confirm the battery has minimum of four-hour discharge and have 24 hours a day, 7 days a week charging and discharging capability.
Confirm Battery Energy Storage System is DC coupled, as required by the RFP
Battery Equipment Manufacturer
Battery Product Warranty (Years)
Battery Enclosure Type Manufacturer (if available)

## Special Exceptions
Section Reference | Detailed Description of the Issue | Issues Type | Proposed Alternative or Alternate Language | Issues Type Table
|  |  |  | Tier 1 | Concept Unacceptable in Any Form
|  |  |  | Tier 2 | Concept Needs Significant Modifications
|  |  |  | Tier 3 | Concept Needs Some Modification
|  |  |  | Tier 4 | Concept Needs Minor Modification
|  |  |  | Tier 5 | May be Acceptable but Requires Further Clarification

## Drop Down Lists (hidden)
|  | Fixed/Tracking | Term | C38-DEV | Typical Unit Operation Role | Proposed Panel Type | PV Module Manufacturer | Inverter Manufaturer | Racking System Manufacturer | Battery Manufacturer | Drive Shaft System | Direct Bury | Battery Storage Type | MISO Interconnection Status | Guaranteed ITC percentage | Start of Construction Approach to Securing the ITC | Year in Which the Project was Safe Harbored | Physical Resource Location
Yes | PPA | Fixed | 10 | EPC | Intermittent | Monofacial Monocrystalline | Jinko | GE | Array Technologies Inc. | Samsung | No Drive Shaft System | Lines Will Be Buried | Confirmed (DC) | Executed GIA with MISO | 30% | Physical Work Test | Before 2020 | Inside ELL Load Zone | 1 | COD
No | BOT | Tracking | 11 | Internal | Dispatchable Intermittent | Monofacial Polycrystalline | Trina | TMEIC | NexTracker | LG Chem | Drive Shaft System Included | Lines Will Not Be Buried | Not Confirmed (Other) | Review Process of Draft GIA | 26% | 5% Spend Test | 2020 | Outside ELL Load Zone | 2 | Commercial Operation Date - (BOT - Guaranteed Substantial Completion)
N/A |  |  | 12 |  | Other | Monofacial Thin-Film | LG | Schneider | Game Change | BYD |  |  | Battery Not included in Proposal | 2021 MISO DPP Queue | 22% | Other | 2021 | Inside MISO South |  | Commercial Operation Date - (PPA - Guaranteed Commercial Operation Date)
|  |  | 13 |  |  | Bifacial Monocrystalline | Hanwha Q CELLS | Power Electronics | SunLink | Panasonic |  |  |  | 2020 MISO DPP Queue | 10% |  | 2022 | Outside MISO South
|  |  | 14 |  |  | Bifacial Polycrystalline | Canadian Solar | SMA | Shoals | Tesla |  |  |  | 2019 MISO DPP Queue | Other |  | 2023 | Other
|  |  | 15 |  |  |  | FirstSolar | Chint | RBI | Other |  |  |  | 2018 MISO DPP Queue |  |  | 2024 |  |  | PPA | BOT
|  |  | 16 |  |  |  | Astronergy | Ingeteam | Schletter |  |  |  |  | Other | [5 empty] | Is the Financial Delivery Point EES.ELILD (ELL Load Node), as offered in the proposal? | Confirm that Bidder has included a "wrap" warranty with the proposed project. Indicate whether a 2 or 3 year base "wrap" warranty is included in the proposal.
|  |  | 17 |  |  |  | Talesun | ABB | TerraSmart | [10 empty] | Confirm the Bidder is agreeing to bear the basis differential between the pricing at the Physical Delivery Point and the Financial Delivery Point (ELL Load Node). | Confirm that Bidder has offered warranties consistent wih the Design and Operating Considerations listed in Section 2.8 of the Main Body.
|  |  | 18 |  |  |  | LONGi | Other | Ideematec | [10 empty] | Confirm the Bidder is agreeing to bear the Cost Recovery Risks associated with the PPA, including unrecovered costs to replace capacity and energy not provided to ELL by Seller under the applicable PPA. | Confirm that Bidder understands and agrees to accept the BOT structure, including, but not limited to, payment structure, construction risk, and transfer of ownership as set forth in the Model BOT Agreement.
|  |  | 19 |  |  |  | Phono Solar (SUMEC) |  | Unirac | [10 empty] | Provide a date, which must be at or prior to the proposed Guaranteed Commercial Operation Date, by which Bidder would require all network upgrades to be completed in order to successfully achieve the project’s proposed Guaranteed Commercial Operation Date (PPA proposals). | Provide a date, which must be at or prior to the proposed Guaranteed Substantial Completion Date), by which Bidder would require all network upgrades to be completed in order to successfully achieve the project’s proposed Guaranteed Substantial Completion Date (BOT proposals).
|  |  | 20 |  |  |  | Yingli |  | SunPower
[7 empty] | JA Solar |  | Soltec
[7 empty] | Suntech |  | Nclave
[7 empty] | SunPower |  | Other
REC Solar
[5 empty] | Baseload |  | Risen
[5 empty] | Load-Following |  | HT Solar
[5 empty] | Peaking |  | Other