## BOT - Developmental Resource
2021 EAL RFP for Renewable Resources - Self-Assessment Form for Wind Developmental Resources
Assessment Criteria | Bidder Response | Bidder Comments
Bidder ID
Resource ID
Proposal ID
Resource Overview
Guaranteed Substantial Completion Date
MISO Interconnection Status
MISO Queue Number
NRIS amount requested from MISO
Planned Unit Registration Type in MISO
Proposed Resource Size
Physical Delivery Point
Physical Resource Location (County)
Provide the nearest Substation
Is an Optional Battery Included in the Proposal?
Proposed Battery Size
Has the Bidder provided at least two years of onsite profile data?
What is the source of the production profile data?
Technical Feasibility
Design Life of the Plant (Years)
Wind Turbine Manufacturer
Turbine Generator Manufacturing Facility Location (Country of Origin)
Turbine Warranty (Years)
Rotor and Blades Supplier
Rotor and Blades Manufacturing Facility Location (Country of Origin)
Blade Size (Length)
Do the blades have an intergrated lightning protection system, in accordance with IEC 61400-24?
Switchgear Manufacturer
Switchgear Manufacturing Facility Location (Country of Origin)
Meteorological Towers Manufacturer
Meteorological Towers Manufacturing Facility Location (Country of Origin)
Number of Meteorological Towers to be installed at the site
Tower Supplier
Tower Manufacturing Facility Location (Country of Origin)
Hub Height
Transformer Manufacturer
Transformer Manufacturing Facility Location (Country of Origin)
Site Hazard Risk
Were Flood (River, Pluvial, Storm Surge) hazards identifed at the location of the site?
If yes, were Flood (River, Pluvial, Storm Surge) hazards addressed?
Were Windstorm Hazards Idenitfied at the location of the site?
If yes, were Windstorm hazards addressed?
Were Wildfire Hazards identified at the location of the site?
If yes, were Wildfire hazards addressed?
Were hailstorm hazards identified at the location of the site?
If yes, were hailstorm hazards addressed?
Were lightening hazards identified at the location of the site?
If yes, were lightening hazards addressed?
What is the planned designed wind speed of the facility?
Is it equivalent to or greater than the ASCE 7-16, Risk Category III wind speed applicable to the Facility Site?
Bidder Experience
Has Bidder completed at least one utility scale project with the proposed technology of similar size?
How many utility scale projects has the bidder or majority of the development team completed with the proposed or similar technology? (List technology)
If Bidder is offering an O&M option, has Bidder been responsible for the operation and maintenance of at one least one utility-scale project utilizing with the proposed technology of similar size?
Development Status
Has a detailed engineering study been performed?
Is the project cost estimate based on front-end engineering that supports at least a class 3 estimate (-20% to +30%)?
Has a detailed construction schedule (Level 2) been performed?
Is the proposal based on an EPC bid or an internal analysis?
Has the Bidder commissioned a third-party wind resource assessment?
Is Bidder (or proposed contractor) a licensed contractor, authorized to install wind equipment within the State of Arkansas?
Are all construction permits currently in effect?
Has the site been assessed for federally protected wildlife, including those species and wildlife protected under the Migratory Bird Treaty Act, Bald and Golden Eagle Protection Act, and Endangered Species Act?
Does the Project have a Technical Assitance Letter (TAL) to operate under when the Facility reaches COD?
If the Facility has a TAL, when is the Incedental Take Permit (ITP) and Habitat Conservation Plan (HCP) expected to be finalized and approved?
Does the Project have an approved Habitat Conservation Plan approved by US Department of Fish & Wildlife?
Does the Project have an approved Incedental Take Permit approved by US Department of Fish & Wildlife?
Confirm the generation resource is located at a single facility and is not a combined or aggregate resource formed by a "system" of generation resources.
Confirm the selection of the proposed resource is not contingent on selection of another proposed resource.
Commercial
Confirm that Bidder has reviewed and is familiar with the terms of the RFP, including the Model BOT Agreement and Scope Book.
Has a reasonably complete Issues List with detailed explanation of terms the Bidder is taking exception to been provided in addition to a list of any additional Special Exceptions to any of the terms of Scope Book with detailed explanation?
Is the Bidder electing to self-build all stand-alone network upgrades (SANU), Transmission Owner's Interconnection Facilities (TOIF), and Interconnection Customer Interconnection Facilities (ICIF)?
What is the cost estimate included in the Purchase Price for all SANU, TOIF, and ICIF?
If the Bidder is self-building all SANU, TOIF, and ICIF, confirm that the Bidder will bear all risk associated with construction and arrangement for all transmission interconnection and network upgrades associated with the Facility being fully deliverable to MISO.
If the Bidder is electing for the Transmission Owner to build all SANU, TOIF, and ICIF, confirm the Seller understands the Buyer will reimburse the Seller on actual costs at Closing.
Confirm that Bidder will continue to move forward with the MISO DPP interconnection process during the RFP and during any contract negotiations if the proposal is selected as a Primary Selection from this RFP, including the payment of deposits, completion of milestones and the construction of any identified network upgrades.
Confirm that Bidder will continue to move forward with the MISO DPP interconnection process during the RFP and during any contract negotiations if the proposal is selected to be put on the Secondary Selection List for this RFP, including the payment of deposits, completion of milestones and the construction of any identified network upgrades.
Provide a date, which must be at or prior to the proposed Guaranteed Substantial Completion Date, by which Bidder would require all network upgrades to be completed in order to successfully achieve the project’s proposed Guaranteed Substantial Completion Date.
Confirm the Bidder/ Seller undertands that EAL as the Buyer will have the right to assign its rights and obligations under the BOT agreement to an Affiliate of Buyer.
Confirm that Bidder has offered warranties consistent wih the Design and Operating Considerations listed in Section 2.8 of the Main Body.
Confirm that Bidder understands and agrees to accept the BOT structure, including, but not limited to, payment structure, construction risk, and transfer of ownership as set forth in the Model BOT Agreement.
Does Bidder agree to absorb the risks of the possible disallowance, disapproval, or denial of recovery by the APSC and other Governmental Authorities of EAL’s costs incurred in connection with a BOT arising out of this RFP
Confirm that Bidder understands and agrees to accept the BOT structure, including, but not limited to, payment structure, construction risk, and transfer of ownership as set forth in the Model BOT Agreement.
Production Tax Credit
Confirm that Bidder understands that a project in-service date beyond four (4) years after the year in which the project started construction for PTC purposes may jeopardize Buyer's receipt of the full PTC benefits associated with the project and may result in the Bidder being responsible for all lost PTC benefits.
Provide the guaranteed PTC amount for the qualified facilities comprised of wind turbines, tower and supporting pad
For PTC accreditation, how will the the Facility be safe-harbored?
Please provide the year that the Facility was safe-harbored for PTC
Site Assessment
Is the project located in the MISO LRZ 8 region?
Is the projct interconnected to EAL Transmission System?
Does Bidder have full control over the project site or a binding and enforceable contract to obtain full control of the project site?
If not, what percentage of the project site does Bidder have control over and what percentage of the project site is subject to a binding and enforceable control that would give Bidder such control?
Does Bidder have control or binding and enforceable contracts to obtain control over the gen-tie/transmission path to the point of interconnection, including through rights-of-way, easements, servitudes, etc?
Has an interconnection agreement (GIA) for the project been executed? If so, does it remain in effect?
Has the Bidder provided a Phase I ESA?
If Bidder has not provided a Phase I ESA, when is one expected to be available (Month, Year)
Project Financing
Has Bidder provided a plan for the financing of the project?
Has Bidder described the ownership structure of the resource?
Has Bidder provided evidence that it has successfully funded or financed at least one similar project?
Confirm the Bidder has reviewed and is familiar with the RFP's Appendix E - Credit/ Collateral Requirements.
Did the Bidder receive notification prior to Proposal Submission for credit worthiness of the Seller Parent?
If the Seller Parent was investment grade, what percent of the credit support amounts can be offset by a Parent Guaranty?
Has the Bidder factored in the Parent Guaranty offset and the cost of the Letters of Credit to total the full amount of credit support at each milestone as outlined in the RFP's Appendix E - Credit/ Collateral Requirements ?
If the Seller Parent was not investment grade, has the Bidder factored in the cost of Letters of Credit for the full amount of credit support at each milestone as outlined in the RFP's Appendix E - Credit/ Collateral Requirements ?
Confirm the Bidder accepts the credit support amounts at each milestone as required by the RFP for the Proposal to be conforming and considered for evaluation.
Confirm the Bidder has provided the Form of Credit Certification and understands the terms outlined in the signed 2021 EAL Renewable RFP Credit Certification.
Battery Option (IF APPLICABLE)
Is an Optional Battery Included in the Proposal?
Proposed Battery Size (MW)
Proposed Battery Duration (Hours)
Confirm the battery has minimum of four-hour discharge and have 24 hours a day, 7 days a week charging and discharging capability.
Confirm Battery Energy Storage System is DC coupled, as required by the RFP
Battery Equipment Manufacturer
Battery Product Warranty (Years)
Battery Enclosure Type Manufacturer (if available)
Provide the guaranteed ITC amount for the BESS as a separate qualified investment credit facility

## PPA - Developmental Resource
2021 EAL RFP for Renewable Resources - Self-Assessment Form for Wind Developmental Resources
Assessment Criteria | Bidder Response | Bidder Comments
Bidder ID
Resource ID
Proposal ID
Resource Overview
PPA, Delivery Term
Guaranteed Commercial Operation Date
MISO Interconnection Status
MISO Queue Number
NRIS amount requested from MISO
Planned Unit Registration Type in MISO
SPP Interconnection Status
SPP Queue Number
NRIS amount requested from SPP
Unit Registration Type in SPP
Proposed Resource Size
Physical Delivery Point
Physical Resource Location (County)
Provide the nearest Substation
Is an Optional Battery Included in the Proposal?
Proposed Battery Size
Has the Bidder provided at least two years of onsite profile data?
What is the source of the production profile data?
Technical Feasibility
Design Life of the Plant (Years)
Wind Turbine Manufacturer
Turbine Generator Manufacturing Facility Location (Country of Origin)
Turbine Warranty (Years)
Rotor and Blades Supplier
Rotor and Blades Manufacturing Facility Location (Country of Origin)
Blade Size (Length)
Do the blades have an intergrated lightning protection system, in accordance with IEC 61400-24?
Switchgear Manufacturer
Switchgear Manufacturing Facility Location (Country of Origin)
Meteorological Towers Manufacturer
Meteorological Towers Manufacturing Facility Location (Country of Origin)
Number of Meteorological Towers at the site
Tower Supplier
Tower Manufacturing Facility Location (Country of Origin)
Hub Height
Transformer Manufacturer
Transformer Manufacturing Facility Location (Country of Origin)
Site Hazard Risk
Were Flood (River, Pluvial, Storm Surge) hazards identifed at the location of the site?
If yes, were Flood (River, Pluvial, Storm Surge) hazards addressed?
Were Windstorm Hazards Idenitfied at the location of the site?
If yes, were Windstorm hazards addressed?
Were Wildfire Hazards identified at the location of the site?
If yes, were Wildfire hazards addressed?
Were hailstorm hazards identified at the location of the site?
If yes, were hailstorm hazards addressed?
Were lightening hazards identified at the location of the site?
If yes, were lightening hazards addressed?
What is the planned designed wind speed of the facility?
Is it equivalent to or greater than the ASCE 7-16, Risk Category III wind speed applicable to the Facility Site?
Bidder Experience
Has Bidder completed at least one utility scale project with the proposed technology of similar size?
How many utility scale projects has the bidder or majority of the development team completed with the proposed or similar technology? (List technology)
Development Status
Has a detailed engineering study been performed?
Is the project cost estimate based on front-end engineering that supports at least a class 3 estimate (-20% to +30%)?
Has a detailed construction schedule (Level 2) been performed?
Is the proposal based on an EPC bid or an internal analysis?
Is a Long-Term Service Agreement or a Service & Maintenance Agreement expected to be in effect for the Facility?
Has the Bidder commissioned a third-party wind resource assessment?
Is Bidder (or proposed contractor) a licensed contractor, authorized to install wind equipment within the State of Arkansas?
Are all operational and construction permits currently in effect?
Has the site been assessed for federally protected wildlife, including those species and wildlife protected under the Migratory Bird Treaty Act, Bald and Golden Eagle Protection Act, and Endangered Species Act?
Does the Project have a Technical Assitance Letter (TAL) to operate under when the Facility reaches COD?
If the Facility has a TAL, when is the Incedental Take Permit (ITP) and Habitat Conservation Plan (HCP) expected to be finalized and approved?
Does the Project have an approved Habitat Conservation Plan approved by US Department of Fish & Wildlife?
Does the Project have an approved Incedental Take Permit approved by US Department of Fish & Wildlife?
Confirm the generation resource is located at a single facility and is not a combined or aggregate resource formed by a "system" of generation resources.
Confirm the selection of the proposed resource is not contingent on selection of another proposed resource.
Commercial
Confirm that Bidder has reviewed and is familiar with the terms of the RFP, including the Model PPA Agreement.
Has a reasonably complete redline of the Model PPA been provided with a list of any additional Special Exceptions, including a detailed explanation of any terms the Bidder is taking exception?
Confirm that the Bidder will bear all risk associated with construction and arrangement for all transmission interconnection and network upgrades associated with the Facility being fully deliverable to MISO or SPP.
Confirm that Bidder will continue to move forward with the MISO DPP or SPP DSIS interconnection process during the RFP and during any contract negotiations if the proposal is selected as a Primary Selection from this RFP, including the payment of deposits, completion of milestones and the construction of any identified network upgrades.
Confirm that Bidder will continue to move forward with the MISO DPPor SPP DSIS interconnection process during the RFP and during any contract negotiations if the proposal is selected to be put on the Secondary Selection List for this RFP, including the payment of deposits, completion of milestones and the construction of any identified network upgrades.
Provide a date, which must be at or prior to the proposed PPA Start Date, by which Bidder would require all network upgrades to be completed in order to successfully achieve the project’s proposed Guaranteed Substantial Completion Date.
Does Bidder's proposal trigger, or is it expected to trigger, long-term liability recognition by EAL, including variable interest entity, derivatives, or capital lease recognition?
Confirm the Bidder has provided the Form of Accounting Certification and understands the terms outlined in the signed 2021 EAL Renewable RFP Accounting Certification.
Does Bidder agree to pay liquidated damages if the guaranteed annual energy delivery minimums are not met and to terminate the PPA for specified failures to meet energy delivery minimums over any two (2) consecutive contract years or any three (3) contract years
Does Bidder agree to absorb the risks of the possible disallowance, disapproval, or denial of recovery by the APSC and other Governmental Authorities of EAL’s costs incurred in connection with a PPA arising out of this RFP
Does the Bidder agree to financially settle a the EAL load node, as required by the RFP to be considered conforming?
Site Assessment
Is the project located in the MISO LRZ 8 region?
Is the projct interconnected to EAL Transmission System?
Does Bidder have full control over the project site or a binding and enforceable contract to obtain full control of the project site?
If not, what percentage of the project site does Bidder have control over and what percentage of the project site is subject to a binding and enforceable control that would give Bidder such control?
Does Bidder have control or binding and enforceable contracts to obtain control over the gen-tie/transmission path to the point of interconnection, including through rights-of-way, easements, servitudes, etc?
Has an interconnection agreement (GIA) for the project been executed? If so, does it remain in effect?
Has the Bidder provided a Phase I ESA?
If Bidder has not provided a Phase I ESA, when is one expected to be available (Month, Year)
Project Financing
Has Bidder provided a plan for the financing of the project?
Has Bidder described the ownership structure of the resource?
Has Bidder provided evidence that it has successfully funded or financed at least one similar project?
Confirm the Bidder has reviewed and is familiar with the RFP's Appendix E - Credit/ Collateral Requirements.
Did the Bidder receive notification prior to Proposal Submission for credit worthiness of the Seller Parent?
Has the Bidder factored in the Parent Guaranty offset and the cost of the Letters of Credit to total the full amount of credit support at each milestone as outlined in the RFP's Appendix E - Credit/ Collateral Requirements ?
If the Seller Parent was not investment grade, has the Bidder factored in the cost of Letters of Credit for the full amount of credit support at each milestone as outlined in the RFP's Appendix E - Credit/ Collateral Requirements ?
If the Seller Parent was not investment grade, has the Bidder factored in the cost of Letters of Credit for the full amount of credit support at each milestone as outlined in the RFP's Appendix E - Credit/ Collateral Requirements ?
Confirm the Bidder accepts the credit support amounts at each milestone as required by the RFP for the Proposal to be conforming and considered for evaluation.
Confirm the Bidder has provided the Form of Credit Certification and understands the terms outlined in the signed 2021 EAL Renewable RFP Credit Certification.
Battery Option (IF APPLICABLE)
Is an Optional Battery Included in the Proposal?
Proposed Battery Size (MW)
Proposed Battery Duration (Hours)
Confirm the battery has minimum of four-hour discharge and have 24 hours a day, 7 days a week charging and discharging capability.
Confirm Battery Energy Storage System is DC coupled, as required by the RFP
Battery Equipment Manufacturer
Battery Product Warranty (Years)
Battery Enclosure Type Manufacturer (if available)

## PPAs Only - Existing Resources
2021 EAL RFP for Renewable Resources - Self-Assessment Form for Wind Developmental Resources
Assessment Criteria | Bidder Response | Bidder Comments
Bidder ID
Resource ID
Proposal ID
Resource Overview
PPA, Delivery Term
Guaranteed Commercial Operation Date
MISO Interconnection Status
MISO Queue Number
NRIS amount requested from MISO
Unit Registration Type in MISO
SPP Interconnection Status
SPP Queue Number
NRIS amount requested from SPP
Unit Registration Type in SPP
Resource Size
Guaranteed PPA Capacity
Physical Resource Location (County)
Provide the nearest Substation
Is an Optional Battery Included in the Proposal?
Proposed Battery Size
Has the Bidder provided at least two years of onsite profile data?
What is the source of the production profile data?
Technical Feasibility
Design Life of the Plant (Years)
Wind Turbine Manufacturer
Turbine Generator Manufacturing Facility Location (Country of Origin)
Turbine Warranty (Years)
Rotor and Blades Supplier
Rotor and Blades Manufacturing Facility Location (Country of Origin)
Blade Size (Length)
Do the blades have an intergrated lightning protection system, in accordance with IEC 61400-24?
Switchgear Manufacturer
Switchgear Manufacturing Facility Location (Country of Origin)
Meteorological Towers Manufacturer
Meteorological Towers Manufacturing Facility Location (Country of Origin)
Number of Meteorological Towers to be installed at the site
Tower Supplier
Tower Manufacturing Facility Location (Country of Origin)
Hub Height
Transformer Manufacturer
Transformer Manufacturing Facility Location (Country of Origin)
Site Hazard Risk
Were Flood (River, Pluvial, Storm Surge) hazards identifed at the location of the site?
If yes, were Flood (River, Pluvial, Storm Surge) hazards addressed?
Were Windstorm Hazards Idenitfied at the location of the site?
If yes, were Windstorm hazards addressed?
Were Wildfire Hazards identified at the location of the site?
If yes, were Wildfire hazards addressed?
Were hailstorm hazards identified at the location of the site?
If yes, were hailstorm hazards addressed?
Were lightning hazards identified at the location of the site?
If yes, were lightning hazards addressed?
What is the planned designed wind speed of the facility?
Is it equivalent to or greater than the ASCE 7-16, Risk Category III wind speed applicable to the Facility Site?
Bidder Experience
Has Bidder completed at least one utility scale project with the proposed technology of similar size?
How many utility scale projects has the bidder or majority of the development team completed with the proposed or similar technology? (List technology)
Facility Status
Commercial Operation Date
Remaining useful life of Facility
Is the Factility useful life remaining (based on a 30-year life) less than 10 years?
If applicable, has any modification, upgrade, improvment or practice been made (or will be made) to extend the resource beyond an assumed 30-year life?
If modifications, upgrades, improvements or practices are requried to be made to extend the useful life beyond a 30-year life, has the full cost associated with those activities been included in the proposal pricing?
Is a Long-Term Service Agreement or a Service & Maintenance Agreement currently in effect for the Facility?
Are all operational and, if applicable, construction permits currently in effect?
If applicable, is detailed flood mitigation plan complete and in place?
Has the site been assessed for federally protected wildlife, including those species and wildlife protected under the Migratory Bird Treaty Act, Bald and Golden Eagle Protection Act, and Endangered Species Act?
Does the Project operate under a Technical Assitance Letter (TAL)?
If operating under a TAL, when is the Incedental Take Permit (ITP) and Habitat Conservation Plan (HCP) expected to be finalized and approved?
Does the Project have an approved Habitat Conservation Plan approved by US Department of Fish & Wildlife?
Does the Project have an approved Incedental Take Permit approved by US Department of Fish & Wildlife?
Confirm the generation resource is located at a single facility and is not a combined or aggregate resource formed by a "system" of generation resources.
Confirm the selection of the proposed resource is not contingent on selection of another proposed resource.
Commercial
Confirm that Bidder has reviewed and is familiar with the terms of the RFP, including the Model PPA Agreement.
Has a reasonably complete redline of the Model PPA been provided with a list of any additional Special Exceptions, including a detailed explanation of any terms the Bidder is taking exception?
Confirm that the Bidder will bear all risk associated with construction and arrangement for all transmission interconnection and network upgrades associated with the Facility being fully deliverable to MISO.
Confirm all network upgrades are completed and full deliverability is achieved.
If the Facility isn't fully deliverable, provide a date, which must be at or prior to the proposed PPA Start Date, by which Bidder would require all network upgrades to be completed in order to successfully achieve the project’s proposed Guaranteed Substantial Completion Date.
Does Bidder's proposal trigger, or is it expected to trigger, long-term liability recognition by EAL, including variable interest entity, derivatives, or capital lease recognition?
Confirm the Bidder has provided the Form of Accounting Certification and understands the terms outlined in the signed 2021 EAL Renewable RFP Accounting Certification.
Does Bidder agree to pay liquidated damages if the guaranteed annual energy delivery minimums are not met and to terminate the PPA for specified failures to meet energy delivery minimums over any two (2) consecutive contract years or any three (3) contract years
Does Bidder agree to absorb the risks of the possible disallowance, disapproval, or denial of recovery by the APSC and other Governmental Authorities of EAL’s costs incurred in connection with a PPA arising out of this RFP
Does the Bidder agree to financially settle a the EAL load node, as required by the RFP to be considered conforming?
Site Assessment
ls the land for the project site leased or owned?
Does Bidder have full control over the project site or a binding and enforceable contract to maintain full control of the project site for the duration of the proposed PPA term?
Does Bidder have control over the gen-tie/transmission path to the point of interconnection, including through rights-of-way, easements, servitudes, etc for the duration of the proposed PPA term?
Has an interconnection agreement (GIA) for the project been executed? If so, does it remain in effect?
Has the Bidder provided a Phase I ESA?
If Bidder has not provided an ESA, when does the Bidder expect one to be available? (Month, Year)
Confirm the generation resource is located at a single facility and is not a combined or aggregate resource formed by a "system" of generation resources.
Confirm the selection of the proposed resource is not contingent on selection of another proposed resource.
Project Financing
Has Bidder provided a plan for the financing of the project?
Has Bidder described the ownership structure of the resource?
Has Bidder provided evidence that it has successfully funded or financed at least one similar project?
Confirm the Bidder has reviewed and is familiar with the RFP's Appendix E - Credit/ Collateral Requirements.
Did the Bidder receive notification prior to Proposal Submission for credit worthiness of the Seller Parent?
Has the Bidder factored in the Parent Guaranty offset and the cost of the Letters of Credit to total the full amount of credit support at each milestone as outlined in the RFP's Appendix E - Credit/ Collateral Requirements ?
If the Seller Parent was not investment grade, has the Bidder factored in the cost of Letters of Credit for the full amount of credit support at each milestone as outlined in the RFP's Appendix E - Credit/ Collateral Requirements ?
If the Seller Parent was not investment grade, has the Bidder factored in the cost of Letters of Credit for the full amount of credit support at each milestone as outlined in the RFP's Appendix E - Credit/ Collateral Requirements ?
Confirm the Bidder accepts the credit support amounts at each milestone as required by the RFP for the Proposal to be conforming and considered for evaluation.
Confirm the Bidder has provided the Form of Credit Certification and understands the terms outlined in the signed 2021 EAL Renewable RFP Credit Certification.
Battery Option (IF APPLICABLE)
Is an Optional Battery Included in the Proposal?
Proposed Battery Size (MW)
Proposed Battery Duration (Hours)
Confirm the battery has minimum of four-hour discharge and have 24 hours a day, 7 days a week charging and discharging capability.
Confirm Battery Energy Storage System is DC coupled, as required by the RFP
Battery Equipment Manufacturer
Battery Product Warranty (Years)
Battery Enclosure Type Manufacturer (if available)
Remaining useful life of BESS
Is the BESS useful life remaining less than 10 years?
If applicable, has any modification, upgrade, improvment or practice been made (or will be made) to extend the BESS beyond current remaining useful life?
If modifications, upgrades, improvements or practices are requried to be made to extend the useful life beyond, has the full cost associated with those activities been included in the proposal pricing?

## Special Exceptions
Section Reference | Detailed Description of the Issue | Issues Type | Proposed Alternative or Alternate Language | Issues Type Table
|  |  |  | Tier 1 | Concept Unacceptable in Any Form
|  |  |  | Tier 2 | Concept Needs Significant Modifications
|  |  |  | Tier 3 | Concept Needs Some Modification
|  |  |  | Tier 4 | Concept Needs Minor Modification
|  |  |  | Tier 5 | May be Acceptable but Requires Further Clarification

## Drop Down Lists (hidden)
|  | Fixed/Tracking | Term | C38-DEV | Typical Unit Operation Role | Proposed Panel Type | PV Module Manufacturer | Inverter Manufaturer | Racking System Manufacturer | Battery Manufacturer | Drive Shaft System | Direct Bury | Battery Storage Type | MISO Interconnection Status | Guaranteed ITC percentage | Start of Construction Approach to Securing the ITC | Year in Which the Project was Safe Harbored | Physical Resource Location
Yes | PPA | Fixed | 10 | EPC | Intermittent | Monofacial Monocrystalline | Jinko | GE | Array Technologies Inc. | Samsung | No Drive Shaft System | Lines Will Be Buried | Confirmed (DC) | Executed GIA with MISO | 30% | Physical Work Test | Before 2020 | Inside ELL Load Zone | 1 | COD
No | BOT | Tracking | 11 | Internal | Dispatchable Intermittent | Monofacial Polycrystalline | Trina | TMEIC | NexTracker | LG Chem | Drive Shaft System Included | Lines Will Not Be Buried | Not Confirmed (Other) | Review Process of Draft GIA | 26% | 5% Spend Test | 2020 | Outside ELL Load Zone | 2 | Commercial Operation Date - (BOT - Guaranteed Substantial Completion)
N/A |  |  | 12 |  | Other | Monofacial Thin-Film | LG | Schneider | Game Change | BYD |  |  | Battery Not included in Proposal | 2020 MISO DPP Queue | 22% | Other | 2021 | Inside MISO South |  | Commercial Operation Date - (PPA - Guaranteed Commercial Operation Date)
|  |  | 13 |  |  | Bifacial Monocrystalline | Hanwha Q CELLS | Power Electronics | SunLink | Panasonic |  |  |  | 2019 MISO DPP Queue | 10% |  | 2022 | Outside MISO South
|  |  | 14 |  |  | Bifacial Polycrystalline | Canadian Solar | SMA | Shoals | Tesla |  |  |  | 2018 MISO DPP Queue | Other |  | 2023 | Other
|  |  | 15 |  |  |  | FirstSolar | Chint | RBI | Other |  |  |  | Other |  |  | 2024 |  |  | PPA | BOT
|  |  | 16 |  |  |  | Astronergy | Ingeteam | Schletter | [10 empty] | Is the Financial Delivery Point EES.ELILD (ELL Load Node), as offered in the proposal? | Confirm that Bidder has included a "wrap" warranty with the proposed project. Indicate whether a 2 or 3 year base "wrap" warranty is included in the proposal.
|  |  | 17 |  |  |  | Talesun | ABB | TerraSmart | [10 empty] | Confirm the Bidder is agreeing to bear the basis differential between the pricing at the Physical Delivery Point and the Financial Delivery Point (ELL Load Node). | Confirm that Bidder has offered warranties consistent wih the Design and Operating Considerations listed in Section 2.8 of the Main Body.
|  |  | 18 |  |  |  | LONGi | Other | Ideematec | [10 empty] | Confirm the Bidder is agreeing to bear the Cost Recovery Risks associated with the PPA, including unrecovered costs to replace capacity and energy not provided to ELL by Seller under the applicable PPA. | Confirm that Bidder understands and agrees to accept the BOT structure, including, but not limited to, payment structure, construction risk, and transfer of ownership as set forth in the Model BOT Agreement.
|  |  | 19 |  |  |  | Phono Solar (SUMEC) |  | Unirac | [10 empty] | Provide a date, which must be at or prior to the proposed Guaranteed Commercial Operation Date, by which Bidder would require all network upgrades to be completed in order to successfully achieve the project’s proposed Guaranteed Commercial Operation Date (PPA proposals). | Provide a date, which must be at or prior to the proposed Guaranteed Substantial Completion Date), by which Bidder would require all network upgrades to be completed in order to successfully achieve the project’s proposed Guaranteed Substantial Completion Date (BOT proposals).
|  |  | 20 |  |  |  | Yingli |  | SunPower
[7 empty] | JA Solar |  | Soltec
[7 empty] | Suntech |  | Nclave
[7 empty] | SunPower |  | Other
REC Solar
[5 empty] | Baseload |  | Risen
[5 empty] | Load-Following |  | HT Solar
[5 empty] | Peaking |  | Other